## Questionnaire
Energy Storage System Project Design Information Requirement
Application ID #
Customer Name
ESS Location |  |  |  | Street Address
City/Town
Zip Code
1 | Design Documentation
Please provide both a one-line diagram and a site plan as a separate attachment to this questionnaire
2 | System Configuration
Is the ESS design Behind-the-Meter or Independent Power Producer?
For Behind-the-Meter, will the site export or be non-export?
Is the ESS electrically connected with DG or other generation?
DG Type (select from dropdown list)
AC or DC coupled?
Will the site be limiting export? If so, identify relay information:
Relay
Manufacturer
Model
System inaccuracies (including sensing device inaccuracies)
Certified Controller
Control internal to inverter or external?
If external, manufacturer/model #
3 | ESS System Technical Details
Storage Technology Type (select one from dropdown list)
Manufacturer
Model Number
Capacity AC (kW)
Energy AC (kWh)
Capacity DC (kW)
Energy DC (kW)
If charging from Utility, provide maximum system delay between charging and discharging
4 | ESS Inverter Technical Details
Manufacturer
Model Number
Nameplate Power AC (kW)
Nameplate Power AC (kVA)
Power factor
Available setting range
Proposed setting for this application
Is the AC Inverter UL 1741 Listed?
5 | Policy Source (Select all that apply)
MA - SMART Program
MA - Energy Efficiency Program
MA - Section 83 (c) or 83 (d)
MA - DOER/ MassCEC Funded Projects
Utility-Owned Storage - R&D
Utility-Owned Storage - T&D
ISO Markets
Clean Peak
Other - Please elaborate
6 | Intended Use (Select all that apply)
Wholesale Market (i.e., Energy, Capacity, Ancillary Services)
Peak Shaving/ Load Leveling
Generation Support (e.g., Peaker Replacement)
T&D Asset Deferral
Power Quality (e.g., Voltage/VAR Support)
Customer Bill Savings (e.g., Demand Charge Management, TOU Arbitrage)
Renewable Energy Integration (e.g., Ramping, Smoothing)
Renewable Energy Shifting
Reliability and Resiliency
Microgrid
Other - Please elaborate
7 | Operating Narrative (Optional)
Brief operating narrative of the proposed uses and/or operating modes of the storage system and paired DG. Applicants are not required to submit a narrative, however are encouraged to do so as a means of accurately informing the Utility on the intended site operation. In the absence of a narrative, the Utility will consider worst case operating conditions based on the other required design information submitted.
8 | Proposed System Operating Paramaters
Identify the proposed system operating paramaters within the defined time periods in the following table.
Proposed Operating Schedule
[5 empty] | 05:00-09:00 | 09:00-13:00 | 13:00-15:00 | 15:00-21:00 | 21:00-05:00
| Max ESS Charging |  |  | kW
Source
Max ESS Discharging (kW)
Export Limited Capacity Across PCC (kW)
Max Ramp Rate (W/s)
Notes:

## Definition(s)
Term | Definition
Co-Located | Distributed generation ("DG") and energy storage system ("ESS") being built on same piece of property, but separate points of common coupling
83C Program | Long term contracts for offshore wind energy, opportunity to be paired with ESS
83D Program | Long term contracts for clean energy projects, opportunity to be paired with ESS
Behind-the-Meter | ESS co-located with significant onsite load
Independent Power Producer | ESS connection without significant onsite load
Max ESS Charging | Maximum capability for ESS to charge. Identify kw charging capability. Positive value indicates charging from the source to the ESS. Additionally, identify source of charging as paired DG at the site (DG), Utility source (Utility), or charging from either source (Both). If Both, provide explanation of designed operation and identify controls that will assure charging from appropriate source. Otherwise Utilities will assume worst case scenario charging from the Utility source as part of the System Impact Study.
Max ESS Discharge | Maximum capability for ESS to discharge to the Utility system. Positive value indicates discharge from the ESS to the Utility, across the point of common coupling ("PCC").
Export Limited Capacity Across PCC | Identify setting that will be programmed at the utility grade relay for the purpose of limiting site export.

## Validation (hidden)
Storage Types
Lithium Ion
Lead Acid
Sodium Chemistry
Vanadium Redox
Pumped Hydro
Thermal Storage
Flywheel
Compressed Air Energy Storage
Supercapacitors
Other Technology
Behind-the-meter
Independent Power Producer
Export
Non-export
DG Types
Anaerobic Digester
Combined Heat and Power
Fuel Cell
Hydroelectric
Solar
Wind
Other
AC Coupled
DC Coupled
Yes
No
Internal
External