## Summary
Total Enabled DER Capital Investment Fee, Excluding future Distribution Feeder Cost
Group Number and Study Area | Current Projected ASO Study Transmission Cost ($M) | Future Projected ASO Study Transmission Cost ($M) | Current Group Distribution Study - Transmission Station Cost ($M) | Common System Modification ($M) | Capital Investment Project Fee ($M) | Capital Investment Project Fee ($/kW) | Current Queue | Enabled Above Queue | Total Large DER Enabled
Group 1 - Marion-Fairhaven |  |  |  | 59.6563 | 107.3437 | 554.427 | 48.65 | 144.962 | 193.612
Group 2 - Plymouth |  |  |  | 70.7293 | 193.2707 | 339.9279 | 125.9518 | 442.6122 | 568.564
Group 3 - Cape |  |  |  | 10.6271 | 187.3981 | 486.0791 | 73.974 | 311.556 | 385.53
Group 4 - Freetown |  |  |  | 12.7102 | 45.2898 | 367.4268 | 22.364 | 100.898 | 123.262
Group 5 - Darmouth-Westport |  |  |  | 29.0485 | 39.3515 | 436.6376 | 16 | 74.124 | 90.124
Group 6 - New Bedford |  |  |  | 26.2355 | 86.7645 | 1031.1067 | 48.49 | 35.657 | 84.147
Group 7 - Plainfield-Blandford |  |  |  | 20.4029 | 55.5971 | 503.6428 | 12.748 | 97.642 | 110.39
ES Local System Plan: | 60 | $275 to $500 | 231.5
| 60 | $275M to $500M | 231.5 | 229.4097 | 715.0155 | 531.3211
[7 empty] | 348.1778 | 1207.4512 | 1555.629

## Final Station Group
[22 empty] | "Capital Project" Enabled |  |  | Reconciliation Charge ($M) | Capital Investment Project ($M)
|  | Existing DER |  | Group Study DER and Post Applications |  | DER Projections |  | Total DG and Minimum Load |  | Costs already included in Eversource Distribution Capital Plan | Group Study Distribution Cost High Level Order of Magnitude based on capacity only |  |  | Group Study Transmission Cost High Level Order of Magnitude based on capacity only |  |  | Cost allocated to individual customers not part of group | Capacity Allocation of Distribution System Upgrades between DER Customers and Load Customers | [5 empty] | Proposed Distribution and Transmission Cost Allocation
Dist. Station Group | Stations | Exising Large DER (MVA) | Existing Small DER Less than 200kW (MVA) | Active DER Group Study June 2020 (MVA) | Post June 2020 Group Study DER Application (MVA) | Incremental Near-Term Trend Based on Historical Large DER Interconnections (MVA) | 10 -Year Projection Small DER Less than 200kw (MVA) | Existing Minimum Gross Load (MVA) | Total Projected DG (Including Existing, Group, Post Group and Incremental Near-Term) (MVA) | 5-Year Captial Plan Investments Offset ($M) | Distribution Station Gateway Line Cost ($M) | Distribution Substation Cost ($M) | Total Distribution Cost by Substation ($M) | Transmission Substation Cost ($M) | Transmission Line Cost ($M) | Total Transmission Cost by Substation ($M) | Distribution Line Cost - Capital Investment Project Cost ($M) | Total Connected MVA Existing | Connected Capacity (Comprehensive Group Solution) (MVA) | "Operational Capacity" Capacity (MVA) | Reserved DER Nameplate Capacity (MVA) | "Capital Project" Enabled DER Capacity (MVA Queue | Enabled DER Capacity (MVA) Post Group Study Allocation | Transmission Local System Plan (LSP) ($M) | Common System Modification ($M) | Capital Investment Project ($M) | Notes
Group 1 - Marion-Fairhaven | Arsene St 654 | 5.5 | 2.541 | 2 | 3.249 | 2.9442 | 2.8 | 3.741 | 19.0342 | 0 | 1 | 3 | 4 | 0 | 0 | 0 | 2.5384 | 35 | 35 | 4.55 | 33.25 | 26.15 | 24.15 | 0 | 0.59283 | 5.9455
Group 1 - Marion-Fairhaven | Crystal Springs 646 | 4.5 | 2.593 | 6.7 | 15.745 | 12.8616 | 2.5 | 2.593 | 44.8996 | 0 | 4 | 33 | 37 | 0 | 12 | 12 | 9.8698 | 40 | 125 | 65 | 62.5 | 55.5 | 48.8 | 12 | 19.9585 | 26.9113 | Comprehensive 2x62.5MVA
Group 1 - Marion-Fairhaven | Rochester 745 | 7.45 | 1.184 | 19 | 1 | 11.4109 | 1.8 | 4.884 | 41.8449 | 2 | 8 | 41 | 47 | 0 | 0 | 0 | 31.6602 | 25 | 125 | 64.3 | 62.5 | 56.95 | 37.95 | 0 | 24.9245 | 53.7356 | Comprehensive 2x62.5MVA
Group 1 - Marion-Fairhaven | Wing Lane 624 | 4.988 | 3.357 | 20.95 | 10.451 | 8 | 3.5 | 4.357 | 51.246 | 0 | 14 | 12 | 26 | 0 | 0 | 0 | 8.9317 | 60 | 125 | 66 | 62.5 | 55.012 | 34.062 | 0 | 14.1804 | 20.7513 | Comprehensive 2x62.5MVA
Group 2 - Plymouth | Brook St 727 | 11.485 | 1.306 | 2 | 1.56 | 4.9101 | 1 | 2.306 | 22.2611 | 0 | 2 | 3 | 5 | 0 | 0 | 0 | 3.4189 | 50 | 50 | 3.5 | 47.5 | 36.015 | 34.015 | 0 | 0.44287 | 7.976
Group 2 - Plymouth | Tremont 713 | 14.931 | 3.713 | 34.046 | 3 | 21.354 | 4 | 10.313 | 81.044 | 2 | 19 | 61 | 78 | 1.5 | 0 | 1.5 | 33.9208 | 50 | 225 | 79 | 150 | 137.669 | 103.623 | 1.5 | 28.4397 | 83.4811 | Comprehensive 3X75MVA
Group 2 - Plymouth | Valley 715 | 14 | 5.121 | 5.57 | 1 | 5.524 | 5 | 11.421 | 36.215 | 0 | 1 | 6 | 7 | 0 | 0 | 0 | 5.2376 | 100 | 100 | 55 | 50 | 37.3 | 31.73 | 0 | 4.1712 | 8.0664
Group 2 - Plymouth | Wareham 714 | 22.774 | 3.915 | 46.51 | 2 | 28.0304 | 4 | 12.115 | 107.2294 | 0 | 22 | 33 | 55 | 33.6 | 0 | 33.6 | 0.28925 | 50 | 225 | 79 | 150 | 131.426 | 84.916 | 33.6 | 20.6486 | 34.6407 | Comprehensive 3X75MVA
Group 2 - Plymouth | West Pond 737 | 28.596 | 5.846 | 34.2 | 12.532 | 25.8542 | 6 | 25.146 | 113.0282 | 0 | 2 | 38 | 40 | 32.8 | 6 | 38.8 | 20.2893 | 100 | 225 | 81 | 150 | 134.704 | 100.504 | 38.8 | 15.0206 | 45.2687 | Comprehensive 3X75MVA
Group 2 - Plymouth | Manomet 721 | 16.7 | 1.4 | 0.8658 | 0 | 0.7267 | 1.4 | 13.1 | 21.0925 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.088 | 50 | 50 | 3.9 | 47.5 | 41.1 | 40.2342 | 0 | 0 | 8.088
Group 2 - Plymouth | Kingston 735 | 5.28 | 2.322 | 2.76 | 2 | 2.6768 | 0.67 | 8.622 | 15.7088 | 0 | 4 | 0 | 4 | 0 | 0 | 0 | 3.7562 | 40 | 100 | 50.67 | 50 | 50.35 | 47.59 | 0 | 2.0063 | 5.7499
Group 4 - Freetown | Bell Rock 661/Assonet 647 | 2.038 | 1.926 | 22.364 | 4.995 | 12.8071 | 2 | 4.226 | 46.1301 | 10 | 8 | 39 | 37 | 42 | 40 | 82 | 21 | 30 | 187.5 | 64.5 | 125 | 123.262 | 100.898 | 82 | 12.7102 | 45.2898 | Comprehensive 3x62.5MVA
Group 5 - Darmouth-Westport | Cross Road 651 | 13.578 | 6.7 | 3 | 4.821 | 7.9272 | 7 | 7.7 | 43.0262 | 0 | 1 | 0 | 6 | 0 | 0 | 0 | 2.6027 | 125 | 125 | 69.5 | 62.5 | 42.922 | 39.922 | 0 | 3.7092 | 4.8935
Group 5 - Darmouth-Westport | Fisher Road 657 | 13.498 | 6.26 | 13 | 0.7 | 6.9203 | 6 | 10.46 | 46.3783 | 0 | 1 | 41.8 | 42.8 | 1.2 | 0 | 1.2 | 16.9973 | 40 | 125 | 68.5 | 62.5 | 47.202 | 34.202 | 1.2 | 25.3392 | 34.458 | Comprehensive 2x62.5MVA
Group 6 - New Bedford | Industrial Park 636 | 38.053 | 7.368 | 48.49 | 2.125 | 33.0334 | 7 | 11.568 | 136.0694 | 0 | 9 | 49 | 58 | 31.2 | 0 | 31.2 | 55 | 100 | 187.5 | 69.5 | 125 | 84.147 | 35.657 | 31.2 | 26.2355 | 86.7645 | Comprehensive 3x62.5MVA
Group 3 - Cape | Falmouth 933 | 15.6 | 13.2 | 14.948 | 0 | 13.4954 | 11.88 | 36.3 | 69.1234 | 0 | 9 | 0 | 9 | 0 | 0 | 0 | 27.2772 | 150 | 150 | 61.88 | 100 | 95.62 | 80.672 | 0 | 3.536 | 32.7412
Group 3 - Cape | Harwich 968 | 8.89 | 10.3 | 15.208 | 0 | 7.6025 | 9.27 | 27.2 | 51.2705 | 0 | 5 | 0 | 5 | 0 | 0 | 0 | 28.4215 | 100 | 100 | 59.27 | 50 | 48.74 | 33.532 | 0 | 2.7437 | 30.6777
Group 3 - Cape | Hatchville 936 | 2.4 | 5.5 | 9.285 | 20.729 | 14.0315 | 4.95 | 15.5 | 56.8955 | 0 | 5 | 0 | 5 | 0 | 0 | 0 | 13.7638 | 50 | 50 | 7.45 | 47.5 | 50.15 | 40.865 | 0 | 0.6467 | 18.1171
Group 3 - Cape | Hyannis Junction 961 | 15.7 | 9.8 | 3.729 | 0 | 3.1207 | 8.82 | 36.7 | 41.1697 | 0 | 5 | 0 | 5 | 0 | 0 | 0 | 25.807 | 175 | 150 | 58.82 | 100 | 102.38 | 98.651 | 0 | 1.8244 | 28.9826
Group 3 - Cape | Otis 915 | 10.2 | 2.3 | 0.499 | 5.974 | 3.746 | 2.07 | 10 | 24.789 | 0 | 1 | 0 | 5 | 0 | 0 | 0 | 0.41146 | 50 | 50 | 4.57 | 47.5 | 42.93 | 42.431 | 0 | 0.48105 | 4.9304
Group 3 - Cape | Sandwich 916 | 5.25 | 4.6 | 30.305 | 0.499 | 16.144 | 4.14 | 12.2 | 60.938 | 0 | 11 | 0 | 11 | 0 | 0 | 0 | 62.3442 | 50 | 50 | 6.64 | 47.5 | 45.71 | 15.405 | 0 | 1.3952 | 71.949
Group 7 - Plainfield-Blandford | Blandford 19J | 25 | 2.61 | 12.748 | 24.148 | 24.0334 | 2.6 | 15.6 | 91.1394 | 0 | 6 | 49 | 55 | 31.2 | 0 | 31.2 | 21 | 55 | 187.5 | 65.1 | 125 | 110.39 | 97.642 | 31.2 | 20.4029 | 55.5971 | Comprehensive 3x62.5MVA
Total |  | 286.411 | 103.862 | 348.1778 | 116.528 | 267.1544 | 98.4 | 286.052 | 1220.5332 | 14 | 138 | 408.8 | 541.8 | 173.5 | 58 | 231.5 | 402.6252 | 1525 | 2747.5 | 1087.65 | 1758.25 | 1555.629 | 1207.4512 | 231.5 | 229.4097 | 715.0155
[8 empty] | DER as a percentage of Light Load | 426.7%
[13 empty] | Group | Eversource Operating Area | Number of DG Facilities | Capacity in MW | Estimated Timing of Impact Studies (Distribution)
[13 empty] | 1 - Marion-Fairhaven | SEMA | 17 | 61 | 2021-10-01
[13 empty] | 2 - Plymouth | SEMA | 40 | 125 | 2021-10-01
[13 empty] | 3 - Cape | SEMA | 59 | 81 | 2021-10-01
[13 empty] | 4 - Freetown | SEMA | 6 | 22 | 2021-08-01
[13 empty] | 5 - Dartmouth-Westport | SEMA | 6 | 19 | 2021-08-01
[13 empty] | 6 - New Bedford | SEMA | 14 | 55 | 2021-08-01
[13 empty] | 7 – Plainfield-Blandford | Western MA | 3 | 13 | June 2021

## Group 1 Cost
|  | Reconciliation Charge ($M) | Reconciliation Charge ($M) | Reconciliation Charge ($M) | Reconciliation Charge ($M) | Capital Investment Project ($M) | Capital Budget
|  | Group Study Cost Order of Magnitude based on capacity only |  |  |  | Cost allocated to individual customers not part of group Updated 4/5/21
Dist. Station Group | Stations | Distribution Station Gateway Line Cost ($M) | Distribution Substation Cost ($M) | Transmission Substation Cost ($M) | Transmission Line Cost ($M) | Distribution Line Cost - Capital Investment Project Cost ($M) | 5-Year Captial Plan Investments Offset ($x1000) | Notes
Group 1 - Marion-Fairhaven | Arsene St 654 | 1 | 3 |  |  | 3.5384
Group 1 - Marion-Fairhaven | Crystal Springs 646 | 4 | 33 |  | 12 | 13.8698
Group 1 - Marion-Fairhaven | Rochester 745 | 8 | 41 |  |  | 39.6602 | 2
Group 1 - Marion-Fairhaven | Wing Lane 624 | 14 | 12 |  |  | 22.9317
80

## Group 2 Cost
|  | Reconciliation Charge ($M) | Reconciliation Charge ($M) | Reconciliation Charge ($M) | Reconciliation Charge ($M) | Capital Investment Project ($M) | Capital Budget
|  | Group Study Cost Order of Magnitude based on capacity only |  |  |  | Cost allocated to individual customers not part of group Updated 4/5/21
Dist. Station Group | Stations | Distribution Station Gateway Line Cost ($M) | Distribution Substation Cost ($M) | Transmission Substation Cost ($M) | Transmission Line Cost ($M) | Distribution Line Cost - Capital Investment Project Cost ($M) | 5-Year Captial Plan Investments Offset ($x1000) | Notes
Group 2 - Plymouth | Brook St 727 | 2 | 3 |  |  | 5.4189
Group 2 - Plymouth | Tremont 713 | 19 | 61 | 1.5 |  | 52.9208 | 2
Group 2 - Plymouth | Valley 715 | 1 | 6 |  |  | 6.2376
Group 2 - Plymouth | Wareham 714 | 22 | 33 | 33.6 |  | 22.2893
Group 2 - Plymouth | West Pond 737 | 2 | 38 | 32.8 | 6 | 22.2893
Group 2 - Plymouth | Manomet 721 | 0 |  |  |  | 8.088
Group 2 - Plymouth | Kingston 735 | 4 |  |  |  | 7.7562
125

## Group 3 Cost
|  | Reconciliation Charge ($M) | Reconciliation Charge ($M) | Reconciliation Charge ($M) | Reconciliation Charge ($M) | Capital Investment Project ($M) | Capital Budget
|  | Group Study Cost Order of Magnitude based on capacity only |  |  |  | Cost allocated to individual customers not part of group Updated 4/5/21
Dist. Station Group | Stations | Distribution Station Gateway Line Cost ($M) | Distribution Substation Cost ($M) | Transmission Substation Cost ($M) | Transmission Line Cost ($M) | Distribution Line Cost - Capital Investment Project Cost ($M) | 5-Year Captial Plan Investments Offset ($x1000) | Notes
Group 3 - Cape | Falmouth 933 | 9 |  |  |  | 36.2772
Group 3 - Cape | Harwich 968 | 5 |  |  |  | 33.4215
Group 3 - Cape | Hatchville 936 | 5 |  |  |  | 18.7638
Group 3 - Cape | Hyannis Junction 961 | 5 |  |  |  | 30.807
Group 3 - Cape | Otis 915 | 5 |  |  |  | 1.4115
Group 3 - Cape | Sandwich 916 | 11 |  |  |  | 73.3442
194.0252

## Group 4 Cost
|  | Reconciliation Charge ($M) | Reconciliation Charge ($M) | Reconciliation Charge ($M) | Reconciliation Charge ($M) | Capital Investment Project ($M) | Capital Budget
|  | Group Study Cost Order of Magnitude based on capacity only |  |  |  | Cost allocated to individual customers not part of group Updated 4/5/21
Dist. Station Group | Stations | Distribution Station Gateway Line Cost ($M) | Distribution Substation Cost ($M) | Transmission Substation Cost ($M) | Transmission Line Cost ($M) | Distribution Line Cost - Capital Investment Project Cost ($M) | 5-Year Captial Plan Investments Offset ($x1000) | Notes
Group 4 - Freetown | Bell Rock 661/Assonet 647 | 8 | 39 | 42 | 40 | 29 | 10

## Group 5 Cost
|  | 20-75 Allocation Proposal ($M) | 20-75 Allocation Proposal ($M) | Reconciliation Charge ($M) | Reconciliation Charge ($M) | Capital Investment Project ($M) | Capital Budget
|  | Group Study Cost Order of Magnitude based on capacity only |  |  |  | Cost allocated to individual customers not part of group Updated 4/5/21
Dist. Station Group | Stations | Distribution Station Gateway Line Cost ($M) | Distribution Substation Cost ($M) | Transmission Substation Cost ($M) | Transmission Line Cost ($M) | Distribution Line Cost - Capital Investment Project Cost ($M) | 5-Year Captial Plan Investments Offset ($x1000) | Notes
Group 5 - Darmouth-Westport | Cross Road 651 | 6 |  |  |  | 3.6027
Group 5 - Darmouth-Westport | Fisher Road 657 | 1 | 41.8 | 1.2 |  | 17.9973
21.6

## Group 6 Cost
|  | 20-75 Allocation Proposal ($M) | 20-75 Allocation Proposal ($M) | Reconciliation Charge ($M) | Reconciliation Charge ($M) | Capital Investment Project ($M) | Capital Budget
|  | Group Study Cost Order of Magnitude based on capacity only |  |  |  | Cost allocated to individual customers not part of group Updated 4/5/21
Dist. Station Group | Stations | Distribution Station Gateway Line Cost ($M) | Distribution Substation Cost ($M) | Transmission Substation Cost ($M) | Transmission Line Cost ($M) | Distribution Line Cost - Capital Investment Project Cost ($M) | 5-Year Captial Plan Investments Offset ($M) | Notes
Group 6 - New Bedford | Industrial Park 636 | 9 | 49 | 31.2 |  | 64

## Group 7 Cost
|  | 20-75 Allocation Proposal ($M) | 20-75 Allocation Proposal ($M) | Reconciliation Charge ($M) | Capital Investment Project ($M) | Capital Budget
|  | Group Study Cost Order of Magnitude based on capacity only |  |  |  | Cost allocated to individual customers not part of group Updated 4/5/21
Dist. Station Group | Stations | Distribution Station Gateway Line Cost ($M) | Distribution Substation Cost ($M) | Transmission Substation Cost ($M) | Transmission Line Cost ($M) | Distribution Line Cost - Capital Investment Project Cost ($M) | 5-Year Captial Plan Investments Offset ($x1000) | Notes
Group 7 - Plainfield-Blandford | Blandford 19J | 6 | 49 | 31.2 |  | 21

## ASO Study Transmission Cost
ASO Study Transmission Cost
Area | Voltage | Type (Line Equipment) | Unit (Mile/Qty) | Total Cost ($M) | Description
WMA/EMA | 115-kV | 115 kV Transmission Line work | 100 | $80 to $150 | Asset condition rebuild and additional upgrades needed for all DERs enabled by comprehensive plan
WMA | 115-kV | Reactive Devices | 1 | $25 to $50 | Address high/low voltage violations
WMA/EMA | 345-kV | Substation Expansions | 1 | $20 to $50 | 345-kV Substation Exapnsion
EMA | 345kv | 345 kV Transmission Line work | 75 | $150 to $250 | Additional upgrades needed for all DER enabled by the comprehensive plan
EMA | 115kV | 191 line reconductor | 1 | 27 | Upgrades Identified in ASO
EMA | 115kV | 140 MVAR Dynamic Reactive Device at Bourne | 1 | 33 | Upgrades Identified in ASO