## Balanced; 20 Year
Business Case Summary Template: Summary - Benefits and Costs - Balanced 20 Year Plan
| Monetized Benefits |  | List of Unquantified Benefits
| Function | Present Value ($ mil) | Function | Benefit
| Adaptive Protection | 0 | Advanced Meter Reading & Billing | Other Customer Benefits -- Network System Enabler
| Advanced Meter Reading & Billing | 166833853.4639 | Advanced Meter Reading & Billing | Other Customer Benefits -- Improved customer satisfaction
| Automated Feeder Switching | 50466892.1936 | Advanced Meter Reading & Billing | Other Customer Benefits -- Convenience - no longer require meter access to meter readers
| Automated Islanding & Reconnection | 0 | Advanced Meter Reading & Billing | Other Customer Benefits -- Better informed customer reps
| Automated Voltage & VAR Control | 232322952.1805 | Advanced Meter Reading & Billing | Distrbution O & M Savings -- Reduced or eliminate estimated bills
| Current Voltage & Power Factor | 0 | Advanced Meter Reading & Billing | Distrbution O & M Savings -- Reduced accidents/ physical injury
| Customer Electricity Use & Optimization | 59443102.1725 | Advanced Meter Reading & Billing | Distrbution O & M Savings -- Improved issue detection, including dead meters
| Demand Response | 39514091.7313 | AMI Telecommunications | Power Interruptions -- Reduced restoration costs
| Diagnosis & Notification of Equipment Condition | 0 | AMI Telecommunications | Other Customer Benefits -- Network System Enabler
| Distributed Energy Resource Monitoring & Control | 0 | Automated Feeder Switching | Power Interruptions -- Reduced restoration costs
| Distributed Generation Integration | 0 | Automated Feeder Switching | Power Interruptions -- Reduced outage frequency
| Distribution-Sited Grid Storage Integration & Control | 0 | Automated Feeder Switching | Distributed Energy Resources -- Increased integration of DERs in the service territory
| Dynamic Capability Rating | 0 | Automated Feeder Switching | Distrbution O & M Savings -- Improved distribution planning
| End-Use Energy Efficiency | 0 | Automated Islanding & Reconnection | Power Interruptions -- Reduced outage frequency
| Enhanced Fault Protection | 0 | Automated Voltage & VAR Control | System Optimization -- Reduced energy use due to optimized system voltages
| Fault Current Limiting | 0 | Automated Voltage & VAR Control | Power Quality -- Reduced sags and swells
| Fault Location, Isolation & Service Restoration | 0 | Automated Voltage & VAR Control | Power Quality -- Delivery of acceptable voltage, current, and frequency
| Power Flow Control | 0 | Automated Voltage & VAR Control | Other Benefits -- Reduced transportation related GHG emissions
| Real-time Load Measurement & Management | 0 | Automated Voltage & VAR Control | Electricity Cost Savings -- Reduced electricity consumption
| Real-time Load Transfer | 0 | Automated Voltage & VAR Control | Electricity Cost Savings -- Demand savings
| Revenue Assurance | 133636152.8357 | Automated Voltage & VAR Control | Electricity Cost Savings -- Avoided capacity costs
| Service Outage Management | 89052085.1683 | Automated Voltage & VAR Control | Distributed Energy Resources -- Increased integration of DERs in the service territory
| Wide Area Monitoring, Visualization & Control | 0 | Automated Voltage & VAR Control | Distrbution O & M Savings -- Reduced distribution operations cost
| Time Varying Rates | 474374783.6456 | Automated Voltage & VAR Control | Air Emissions -- Avoided SOx, NOx, and PM-10 emissions compliance cost
| EV Integration | 33966640.2857 | Automated Voltage & VAR Control | Air Emissions -- Avoided GHG emissions compliance cost
| Telecommunications Backbone | 31443239.4078 | Current Voltage & Power Factor | Power Quality -- Delivery of acceptable voltage, current, and frequency
| AMI Telecommunications | 51963156.3624 | Customer Electricity Use & Optimization | Other Customer Benefits -- In-home feedback tools
| IT Security | 0 | Customer Electricity Use & Optimization | Other Customer Benefits -- Increased customer choice and control
| Geographic Information System | 0 | Customer Electricity Use & Optimization | Other Customer Benefits -- Increased customer access to the energy management portals
| Program Management | 0 | Customer Electricity Use & Optimization | Other Customer Benefits -- Improved customer satisfaction
| System Integration | 0 | Customer Electricity Use & Optimization | Other Customer Benefits -- Daily usage data with price signals for managing energy usage
| Data Management | 0 | Customer Electricity Use & Optimization | Other Customer Benefits -- Customer consumption info on dedicated website
| Data Analytics | 0 | Data Analytics | Other Customer Benefits -- Network System Enabler
| System Test and Enterprise Architecture | 0 | Data Management | Other Customer Benefits -- Network System Enabler
| Mobile Workforce Management | 11367738.4492 | Demand Response | Other Customer Benefits -- In-home feedback tools
| Total Monetized Benefits | 1374384687.8965 | Demand Response | Other Customer Benefits -- Increased customer choice and control
|  |  | Diagnosis & Notification of Equipment Condition | Distrbution O & M Savings -- information access
| Costs |  | Distributed Generation Integration | Distributed Energy Resources -- Increased integration of DERs in the service territory
| Cost Category | Present Value ($ mil) | Distributed Generation Integration | Distributed Energy Resources -- Increased DER nameplate capacity in the service territory (in MW)
| Advanced Metering System |  | Distribution-Sited Grid Storage Integration & Control | Distributed Energy Resources -- Reduced costs from energy storage
| Communications Systems |  | DMS | Other Benefits -- Information Access
| Electric Distribution System |  | EV Integration | Distributed Energy Resources -- Reduced fuel transportation expense from EVs
| Integrated Crosscutting Systems |  | EV Integration | Distributed Energy Resources -- Increased number of EVs in the service territory
| Customer Education Marketing |  | Fault Location, Isolation & Service Restoration | T & D Capital Savings -- Deferred capital replacement
| Project Management Administration |  | Fault Location, Isolation & Service Restoration | Power Interruptions -- Reduced restoration costs
| Operational O & M |  | Fault Location, Isolation & Service Restoration | Power Interruptions -- Reduced outage frequency
| Other Costs |  | Fault Location, Isolation & Service Restoration | Distrbution O & M Savings -- Reduced truck rolls
| Total Costs | 1150698826.6382 | Geographic Information System | Other Customer Benefits -- Network System Enabler
|  |  | IT Security | Other Customer Benefits -- Network System Enabler
| Total Monetized Net Benefits | 223685861.2583 | Mobile Workforce Management | Power Interruptions -- SAIDI improvement
|  |  | Mobile Workforce Management | Power Interruptions -- Improved response time to restoration
|  |  | Mobile Workforce Management | Other Customer Benefits -- Improved customer satisfaction
|  |  | Mobile Workforce Management | Other Benefits -- Safety and compliance
|  |  | Mobile Workforce Management | Other Benefits -- Information Access
|  |  | Program Management | Other Customer Benefits -- Network System Enabler
|  |  | Real-time Load Measurement & Management | Distrbution O & M Savings -- Improved load research
|  |  | Real-time Load Measurement & Management | Distrbution O & M Savings -- Improved distribution planning
|  |  | Real-time Load Transfer | System Optimization -- Improved load balancing
|  |  | Revenue Assurance | Theft Reduction -- Increased theft and tamper detection
|  |  | Service Outage Management | Power Interruptions -- Reduced truck rolls at the end of outages by better understanding nested outages
|  |  | Service Outage Management | Power Interruptions -- Reduced restoration costs
|  |  | Service Outage Management | Power Interruptions -- Reduced outage frequency
|  |  | Service Outage Management | Power Interruptions -- More reliable restoration notification
|  |  | Service Outage Management | Power Interruptions -- Improved response time to restoration
|  |  | Service Outage Management | Power Interruptions -- Improved outage duration info and reporting
|  |  | Service Outage Management | Power Interruptions -- Avoided lost sales due to outages
|  |  | Service Outage Management | Other Customer Benefits -- Improved customer satisfaction
|  |  | System Integration | Other Customer Benefits -- Network System Enabler
|  |  | System Test and Enterprise Architecture | Other Customer Benefits -- Network System Enabler
|  |  | Telecommunications Backbone | Other Customer Benefits -- Network System Enabler
|  |  | Telecommunications Backbone | Distrbution O & M Savings -- Reduced distribution operations cost
|  |  | Time Varying Rates | Other Customer Benefits -- In-home feedback tools
|  |  | Time Varying Rates | Other Customer Benefits -- Increased customer choice and control

## 100% TVR
Business Case Summary Template: Summary - Benefits and Costs - Balanced Plan; 100% of Customers subject to TVR
| Monetized Benefits |  | List of Unquantified Benefits
| Function | Present Value ($ mil) | Function | Benefit
| Adaptive Protection | 0 | Advanced Meter Reading & Billing | Other Customer Benefits -- Network System Enabler
| Advanced Meter Reading & Billing | 127642163.9523 | Advanced Meter Reading & Billing | Other Customer Benefits -- Improved customer satisfaction
| Automated Feeder Switching | 36013741.2142 | Advanced Meter Reading & Billing | Other Customer Benefits -- Convenience - no longer require meter access to meter readers
| Automated Islanding & Reconnection | 0 | Advanced Meter Reading & Billing | Other Customer Benefits -- Better informed customer reps
| Automated Voltage & VAR Control | 154547774.3258 | Advanced Meter Reading & Billing | Distrbution O & M Savings -- Reduced or eliminate estimated bills
| Current Voltage & Power Factor | 0 | Advanced Meter Reading & Billing | Distrbution O & M Savings -- Reduced accidents/ physical injury
| Customer Electricity Use & Optimization | 33182134.7236 | Advanced Meter Reading & Billing | Distrbution O & M Savings -- Improved issue detection, including dead meters
| Demand Response | 22709119.0609 | AMI Telecommunications | Power Interruptions -- Reduced restoration costs
| Diagnosis & Notification of Equipment Condition | 0 | AMI Telecommunications | Other Customer Benefits -- Network System Enabler
| Distributed Energy Resource Monitoring & Control | 0 | Automated Feeder Switching | Power Interruptions -- Reduced restoration costs
| Distributed Generation Integration | 0 | Automated Feeder Switching | Power Interruptions -- Reduced outage frequency
| Distribution-Sited Grid Storage Integration & Control | 0 | Automated Feeder Switching | Distributed Energy Resources -- Increased integration of DERs in the service territory
| Dynamic Capability Rating | 0 | Automated Feeder Switching | Distrbution O & M Savings -- Improved distribution planning
| End-Use Energy Efficiency | 0 | Automated Islanding & Reconnection | Power Interruptions -- Reduced outage frequency
| Enhanced Fault Protection | 0 | Automated Voltage & VAR Control | System Optimization -- Reduced energy use due to optimized system voltages
| Fault Current Limiting | 0 | Automated Voltage & VAR Control | Power Quality -- Reduced sags and swells
| Fault Location, Isolation & Service Restoration | 0 | Automated Voltage & VAR Control | Power Quality -- Delivery of acceptable voltage, current, and frequency
| Power Flow Control | 0 | Automated Voltage & VAR Control | Other Benefits -- Reduced transportation related GHG emissions
| Real-time Load Measurement & Management | 0 | Automated Voltage & VAR Control | Electricity Cost Savings -- Reduced electricity consumption
| Real-time Load Transfer | 0 | Automated Voltage & VAR Control | Electricity Cost Savings -- Demand savings
| Revenue Assurance | 96544840.7374 | Automated Voltage & VAR Control | Electricity Cost Savings -- Avoided capacity costs
| Service Outage Management | 64733129.8757 | Automated Voltage & VAR Control | Distributed Energy Resources -- Increased integration of DERs in the service territory
| Wide Area Monitoring, Visualization & Control | 0 | Automated Voltage & VAR Control | Distrbution O & M Savings -- Reduced distribution operations cost
| Time Varying Rates | 530355573.5702 | Automated Voltage & VAR Control | Air Emissions -- Avoided SOx, NOx, and PM-10 emissions compliance cost
| EV Integration | 20774759.4652 | Automated Voltage & VAR Control | Air Emissions -- Avoided GHG emissions compliance cost
| Telecommunications Backbone | 25447421.6297 | Current Voltage & Power Factor | Power Quality -- Delivery of acceptable voltage, current, and frequency
| AMI Telecommunications | 39803678.7162 | Customer Electricity Use & Optimization | Other Customer Benefits -- In-home feedback tools
| IT Security | 0 | Customer Electricity Use & Optimization | Other Customer Benefits -- Increased customer choice and control
| Geographic Information System | 0 | Customer Electricity Use & Optimization | Other Customer Benefits -- Increased customer access to the energy management portals
| Program Management | 0 | Customer Electricity Use & Optimization | Other Customer Benefits -- Improved customer satisfaction
| System Integration | 0 | Customer Electricity Use & Optimization | Other Customer Benefits -- Daily usage data with price signals for managing energy usage
| Data Management | 0 | Customer Electricity Use & Optimization | Other Customer Benefits -- Customer consumption info on dedicated website
| Data Analytics | 0 | Data Analytics | Other Customer Benefits -- Network System Enabler
| System Test and Enterprise Architecture | 0 | Data Management | Other Customer Benefits -- Network System Enabler
| Mobile Workforce Management | 9125375.3382 | Demand Response | Other Customer Benefits -- In-home feedback tools
| Total Monetized Benefits | 1160879712.6092 | Demand Response | Other Customer Benefits -- Increased customer choice and control
|  |  | Diagnosis & Notification of Equipment Condition | Distrbution O & M Savings -- information access
| Costs |  | Distributed Generation Integration | Distributed Energy Resources -- Increased integration of DERs in the service territory
| Cost Category | Present Value ($ mil) | Distributed Generation Integration | Distributed Energy Resources -- Increased DER nameplate capacity in the service territory (in MW)
| Advanced Metering System |  | Distribution-Sited Grid Storage Integration & Control | Distributed Energy Resources -- Reduced costs from energy storage
| Communications Systems |  | DMS | Other Benefits -- Information Access
| Electric Distribution System |  | EV Integration | Distributed Energy Resources -- Reduced fuel transportation expense from EVs
| Integrated Crosscutting Systems |  | EV Integration | Distributed Energy Resources -- Increased number of EVs in the service territory
| Customer Education Marketing |  | Fault Location, Isolation & Service Restoration | T & D Capital Savings -- Deferred capital replacement
| Project Management Administration |  | Fault Location, Isolation & Service Restoration | Power Interruptions -- Reduced restoration costs
| Operational O & M |  | Fault Location, Isolation & Service Restoration | Power Interruptions -- Reduced outage frequency
| Other Costs |  | Fault Location, Isolation & Service Restoration | Distrbution O & M Savings -- Reduced truck rolls
| Total Costs | 1044909833.976 | Geographic Information System | Other Customer Benefits -- Network System Enabler
|  |  | IT Security | Other Customer Benefits -- Network System Enabler
| Total Monetized Net Benefits | 115969878.6333 | Mobile Workforce Management | Power Interruptions -- SAIDI improvement
|  |  | Mobile Workforce Management | Power Interruptions -- Improved response time to restoration
|  |  | Mobile Workforce Management | Other Customer Benefits -- Improved customer satisfaction
|  |  | Mobile Workforce Management | Other Benefits -- Safety and compliance
|  |  | Mobile Workforce Management | Other Benefits -- Information Access
|  |  | Program Management | Other Customer Benefits -- Network System Enabler
|  |  | Real-time Load Measurement & Management | Distrbution O & M Savings -- Improved load research
|  |  | Real-time Load Measurement & Management | Distrbution O & M Savings -- Improved distribution planning
|  |  | Real-time Load Transfer | System Optimization -- Improved load balancing
|  |  | Revenue Assurance | Theft Reduction -- Increased theft and tamper detection
|  |  | Service Outage Management | Power Interruptions -- Reduced truck rolls at the end of outages by better understanding nested outages
|  |  | Service Outage Management | Power Interruptions -- Reduced restoration costs
|  |  | Service Outage Management | Power Interruptions -- Reduced outage frequency
|  |  | Service Outage Management | Power Interruptions -- More reliable restoration notification
|  |  | Service Outage Management | Power Interruptions -- Improved response time to restoration
|  |  | Service Outage Management | Power Interruptions -- Improved outage duration info and reporting
|  |  | Service Outage Management | Power Interruptions -- Avoided lost sales due to outages
|  |  | Service Outage Management | Other Customer Benefits -- Improved customer satisfaction
|  |  | System Integration | Other Customer Benefits -- Network System Enabler
|  |  | System Test and Enterprise Architecture | Other Customer Benefits -- Network System Enabler
|  |  | Telecommunications Backbone | Other Customer Benefits -- Network System Enabler
|  |  | Telecommunications Backbone | Distrbution O & M Savings -- Reduced distribution operations cost
|  |  | Time Varying Rates | Other Customer Benefits -- In-home feedback tools
|  |  | Time Varying Rates | Other Customer Benefits -- Increased customer choice and control

## Discount Rate
Business Case Summary Template: Summary - Benefits and Costs - Balanced Plan; 20-Year Treasury Bond Rate
| Monetized Benefits |  | List of Unquantified Benefits
| Function | Present Value ($ mil) | Function | Benefit
| Adaptive Protection | 0 | Advanced Meter Reading & Billing | Other Customer Benefits -- Network System Enabler
| Advanced Meter Reading & Billing | 193515559.6079 | Advanced Meter Reading & Billing | Other Customer Benefits -- Improved customer satisfaction
| Automated Feeder Switching | 58119503.4564 | Advanced Meter Reading & Billing | Other Customer Benefits -- Convenience - no longer require meter access to meter readers
| Automated Islanding & Reconnection | 0 | Advanced Meter Reading & Billing | Other Customer Benefits -- Better informed customer reps
| Automated Voltage & VAR Control | 254695051.0819 | Advanced Meter Reading & Billing | Distrbution O & M Savings -- Reduced or eliminate estimated bills
| Current Voltage & Power Factor | 0 | Advanced Meter Reading & Billing | Distrbution O & M Savings -- Reduced accidents/ physical injury
| Customer Electricity Use & Optimization | 56129502.5149 | Advanced Meter Reading & Billing | Distrbution O & M Savings -- Improved issue detection, including dead meters
| Demand Response | 37954849.7566 | AMI Telecommunications | Power Interruptions -- Reduced restoration costs
| Diagnosis & Notification of Equipment Condition | 0 | AMI Telecommunications | Other Customer Benefits -- Network System Enabler
| Distributed Energy Resource Monitoring & Control | 0 | Automated Feeder Switching | Power Interruptions -- Reduced restoration costs
| Distributed Generation Integration | 0 | Automated Feeder Switching | Power Interruptions -- Reduced outage frequency
| Distribution-Sited Grid Storage Integration & Control | 0 | Automated Feeder Switching | Distributed Energy Resources -- Increased integration of DERs in the service territory
| Dynamic Capability Rating | 0 | Automated Feeder Switching | Distrbution O & M Savings -- Improved distribution planning
| End-Use Energy Efficiency | 0 | Automated Islanding & Reconnection | Power Interruptions -- Reduced outage frequency
| Enhanced Fault Protection | 0 | Automated Voltage & VAR Control | System Optimization -- Reduced energy use due to optimized system voltages
| Fault Current Limiting | 0 | Automated Voltage & VAR Control | Power Quality -- Reduced sags and swells
| Fault Location, Isolation & Service Restoration | 0 | Automated Voltage & VAR Control | Power Quality -- Delivery of acceptable voltage, current, and frequency
| Power Flow Control | 0 | Automated Voltage & VAR Control | Other Benefits -- Reduced transportation related GHG emissions
| Real-time Load Measurement & Management | 0 | Automated Voltage & VAR Control | Electricity Cost Savings -- Reduced electricity consumption
| Real-time Load Transfer | 0 | Automated Voltage & VAR Control | Electricity Cost Savings -- Demand savings
| Revenue Assurance | 148944819.0431 | Automated Voltage & VAR Control | Electricity Cost Savings -- Avoided capacity costs
| Service Outage Management | 103903815.9087 | Automated Voltage & VAR Control | Distributed Energy Resources -- Increased integration of DERs in the service territory
| Wide Area Monitoring, Visualization & Control | 0 | Automated Voltage & VAR Control | Distrbution O & M Savings -- Reduced distribution operations cost
| Time Varying Rates | 550493922.7631 | Automated Voltage & VAR Control | Air Emissions -- Avoided SOx, NOx, and PM-10 emissions compliance cost
| EV Integration | 34035408.7838 | Automated Voltage & VAR Control | Air Emissions -- Avoided GHG emissions compliance cost
| Telecommunications Backbone | 38003705.7413 | Current Voltage & Power Factor | Power Quality -- Delivery of acceptable voltage, current, and frequency
| AMI Telecommunications | 61034195.7938 | Customer Electricity Use & Optimization | Other Customer Benefits -- In-home feedback tools
| IT Security | 0 | Customer Electricity Use & Optimization | Other Customer Benefits -- Increased customer choice and control
| Geographic Information System | 0 | Customer Electricity Use & Optimization | Other Customer Benefits -- Increased customer access to the energy management portals
| Program Management | 0 | Customer Electricity Use & Optimization | Other Customer Benefits -- Improved customer satisfaction
| System Integration | 0 | Customer Electricity Use & Optimization | Other Customer Benefits -- Daily usage data with price signals for managing energy usage
| Data Management | 0 | Customer Electricity Use & Optimization | Other Customer Benefits -- Customer consumption info on dedicated website
| Data Analytics | 0 | Data Analytics | Other Customer Benefits -- Network System Enabler
| System Test and Enterprise Architecture | 0 | Data Management | Other Customer Benefits -- Network System Enabler
| Mobile Workforce Management | 13469209.7458 | Demand Response | Other Customer Benefits -- In-home feedback tools
| Total Monetized Benefits | 1550299544.1974 | Demand Response | Other Customer Benefits -- Increased customer choice and control
|  |  | Diagnosis & Notification of Equipment Condition | Distrbution O & M Savings -- information access
| Costs |  | Distributed Generation Integration | Distributed Energy Resources -- Increased integration of DERs in the service territory
| Cost Category | Present Value ($ mil) | Distributed Generation Integration | Distributed Energy Resources -- Increased DER nameplate capacity in the service territory (in MW)
| Advanced Metering System |  | Distribution-Sited Grid Storage Integration & Control | Distributed Energy Resources -- Reduced costs from energy storage
| Communications Systems |  | DMS | Other Benefits -- Information Access
| Electric Distribution System |  | EV Integration | Distributed Energy Resources -- Reduced fuel transportation expense from EVs
| Integrated Crosscutting Systems |  | EV Integration | Distributed Energy Resources -- Increased number of EVs in the service territory
| Customer Education Marketing |  | Fault Location, Isolation & Service Restoration | T & D Capital Savings -- Deferred capital replacement
| Project Management Administration |  | Fault Location, Isolation & Service Restoration | Power Interruptions -- Reduced restoration costs
| Operational O & M |  | Fault Location, Isolation & Service Restoration | Power Interruptions -- Reduced outage frequency
| Other Costs |  | Fault Location, Isolation & Service Restoration | Distrbution O & M Savings -- Reduced truck rolls
| Total Costs | 1366141368.2056 | Geographic Information System | Other Customer Benefits -- Network System Enabler
|  |  | IT Security | Other Customer Benefits -- Network System Enabler
| Total Monetized Net Benefits | 184158175.9919 | Mobile Workforce Management | Power Interruptions -- SAIDI improvement
|  |  | Mobile Workforce Management | Power Interruptions -- Improved response time to restoration
|  |  | Mobile Workforce Management | Other Customer Benefits -- Improved customer satisfaction
|  |  | Mobile Workforce Management | Other Benefits -- Safety and compliance
|  |  | Mobile Workforce Management | Other Benefits -- Information Access
|  |  | Program Management | Other Customer Benefits -- Network System Enabler
|  |  | Real-time Load Measurement & Management | Distrbution O & M Savings -- Improved load research
|  |  | Real-time Load Measurement & Management | Distrbution O & M Savings -- Improved distribution planning
|  |  | Real-time Load Transfer | System Optimization -- Improved load balancing
|  |  | Revenue Assurance | Theft Reduction -- Increased theft and tamper detection
|  |  | Service Outage Management | Power Interruptions -- Reduced truck rolls at the end of outages by better understanding nested outages
|  |  | Service Outage Management | Power Interruptions -- Reduced restoration costs
|  |  | Service Outage Management | Power Interruptions -- Reduced outage frequency
|  |  | Service Outage Management | Power Interruptions -- More reliable restoration notification
|  |  | Service Outage Management | Power Interruptions -- Improved response time to restoration
|  |  | Service Outage Management | Power Interruptions -- Improved outage duration info and reporting
|  |  | Service Outage Management | Power Interruptions -- Avoided lost sales due to outages
|  |  | Service Outage Management | Other Customer Benefits -- Improved customer satisfaction
|  |  | System Integration | Other Customer Benefits -- Network System Enabler
|  |  | System Test and Enterprise Architecture | Other Customer Benefits -- Network System Enabler
|  |  | Telecommunications Backbone | Other Customer Benefits -- Network System Enabler
|  |  | Telecommunications Backbone | Distrbution O & M Savings -- Reduced distribution operations cost
|  |  | Time Varying Rates | Other Customer Benefits -- In-home feedback tools
|  |  | Time Varying Rates | Other Customer Benefits -- Increased customer choice and control

## +25 TVR Rate
Business Case Summary Template: Summary - Benefits and Costs - Balanced Plan - High Range of Customer TVR Response
| Monetized Benefits |  | List of Unquantified Benefits
| Function | Present Value ($ mil) | Function | Benefit
| Adaptive Protection | 0 | Advanced Meter Reading & Billing | Other Customer Benefits -- Network System Enabler
| Advanced Meter Reading & Billing | 127642163.9523 | Advanced Meter Reading & Billing | Other Customer Benefits -- Improved customer satisfaction
| Automated Feeder Switching | 36013741.2142 | Advanced Meter Reading & Billing | Other Customer Benefits -- Convenience - no longer require meter access to meter readers
| Automated Islanding & Reconnection | 0 | Advanced Meter Reading & Billing | Other Customer Benefits -- Better informed customer reps
| Automated Voltage & VAR Control | 154547774.3258 | Advanced Meter Reading & Billing | Distrbution O & M Savings -- Reduced or eliminate estimated bills
| Current Voltage & Power Factor | 0 | Advanced Meter Reading & Billing | Distrbution O & M Savings -- Reduced accidents/ physical injury
| Customer Electricity Use & Optimization | 33182134.7236 | Advanced Meter Reading & Billing | Distrbution O & M Savings -- Improved issue detection, including dead meters
| Demand Response | 22709119.0609 | AMI Telecommunications | Power Interruptions -- Reduced restoration costs
| Diagnosis & Notification of Equipment Condition | 0 | AMI Telecommunications | Other Customer Benefits -- Network System Enabler
| Distributed Energy Resource Monitoring & Control | 0 | Automated Feeder Switching | Power Interruptions -- Reduced restoration costs
| Distributed Generation Integration | 0 | Automated Feeder Switching | Power Interruptions -- Reduced outage frequency
| Distribution-Sited Grid Storage Integration & Control | 0 | Automated Feeder Switching | Distributed Energy Resources -- Increased integration of DERs in the service territory
| Dynamic Capability Rating | 0 | Automated Feeder Switching | Distrbution O & M Savings -- Improved distribution planning
| End-Use Energy Efficiency | 0 | Automated Islanding & Reconnection | Power Interruptions -- Reduced outage frequency
| Enhanced Fault Protection | 0 | Automated Voltage & VAR Control | System Optimization -- Reduced energy use due to optimized system voltages
| Fault Current Limiting | 0 | Automated Voltage & VAR Control | Power Quality -- Reduced sags and swells
| Fault Location, Isolation & Service Restoration | 0 | Automated Voltage & VAR Control | Power Quality -- Delivery of acceptable voltage, current, and frequency
| Power Flow Control | 0 | Automated Voltage & VAR Control | Other Benefits -- Reduced transportation related GHG emissions
| Real-time Load Measurement & Management | 0 | Automated Voltage & VAR Control | Electricity Cost Savings -- Reduced electricity consumption
| Real-time Load Transfer | 0 | Automated Voltage & VAR Control | Electricity Cost Savings -- Demand savings
| Revenue Assurance | 96544840.7374 | Automated Voltage & VAR Control | Electricity Cost Savings -- Avoided capacity costs
| Service Outage Management | 64733129.8757 | Automated Voltage & VAR Control | Distributed Energy Resources -- Increased integration of DERs in the service territory
| Wide Area Monitoring, Visualization & Control | 0 | Automated Voltage & VAR Control | Distrbution O & M Savings -- Reduced distribution operations cost
| Time Varying Rates | 437586956.2778 | Automated Voltage & VAR Control | Air Emissions -- Avoided SOx, NOx, and PM-10 emissions compliance cost
| EV Integration | 20774759.4652 | Automated Voltage & VAR Control | Air Emissions -- Avoided GHG emissions compliance cost
| Telecommunications Backbone | 25447421.6297 | Current Voltage & Power Factor | Power Quality -- Delivery of acceptable voltage, current, and frequency
| AMI Telecommunications | 39803678.7162 | Customer Electricity Use & Optimization | Other Customer Benefits -- In-home feedback tools
| IT Security | 0 | Customer Electricity Use & Optimization | Other Customer Benefits -- Increased customer choice and control
| Geographic Information System | 0 | Customer Electricity Use & Optimization | Other Customer Benefits -- Increased customer access to the energy management portals
| Program Management | 0 | Customer Electricity Use & Optimization | Other Customer Benefits -- Improved customer satisfaction
| System Integration | 0 | Customer Electricity Use & Optimization | Other Customer Benefits -- Daily usage data with price signals for managing energy usage
| Data Management | 0 | Customer Electricity Use & Optimization | Other Customer Benefits -- Customer consumption info on dedicated website
| Data Analytics | 0 | Data Analytics | Other Customer Benefits -- Network System Enabler
| System Test and Enterprise Architecture | 0 | Data Management | Other Customer Benefits -- Network System Enabler
| Mobile Workforce Management | 9125375.3382 | Demand Response | Other Customer Benefits -- In-home feedback tools
| Total Monetized Benefits | 1068111095.3169 | Demand Response | Other Customer Benefits -- Increased customer choice and control
|  |  | Diagnosis & Notification of Equipment Condition | Distrbution O & M Savings -- information access
| Costs |  | Distributed Generation Integration | Distributed Energy Resources -- Increased integration of DERs in the service territory
| Cost Category | Present Value ($ mil) | Distributed Generation Integration | Distributed Energy Resources -- Increased DER nameplate capacity in the service territory (in MW)
| Advanced Metering System |  | Distribution-Sited Grid Storage Integration & Control | Distributed Energy Resources -- Reduced costs from energy storage
| Communications Systems |  | DMS | Other Benefits -- Information Access
| Electric Distribution System |  | EV Integration | Distributed Energy Resources -- Reduced fuel transportation expense from EVs
| Integrated Crosscutting Systems |  | EV Integration | Distributed Energy Resources -- Increased number of EVs in the service territory
| Customer Education Marketing |  | Fault Location, Isolation & Service Restoration | T & D Capital Savings -- Deferred capital replacement
| Project Management Administration |  | Fault Location, Isolation & Service Restoration | Power Interruptions -- Reduced restoration costs
| Operational O & M |  | Fault Location, Isolation & Service Restoration | Power Interruptions -- Reduced outage frequency
| Other Costs |  | Fault Location, Isolation & Service Restoration | Distrbution O & M Savings -- Reduced truck rolls
| Total Costs | 1044909833.976 | Geographic Information System | Other Customer Benefits -- Network System Enabler
|  |  | IT Security | Other Customer Benefits -- Network System Enabler
| Total Monetized Net Benefits | 23201261.3409 | Mobile Workforce Management | Power Interruptions -- SAIDI improvement
|  |  | Mobile Workforce Management | Power Interruptions -- Improved response time to restoration
|  |  | Mobile Workforce Management | Other Customer Benefits -- Improved customer satisfaction
|  |  | Mobile Workforce Management | Other Benefits -- Safety and compliance
|  |  | Mobile Workforce Management | Other Benefits -- Information Access
|  |  | Program Management | Other Customer Benefits -- Network System Enabler
|  |  | Real-time Load Measurement & Management | Distrbution O & M Savings -- Improved load research
|  |  | Real-time Load Measurement & Management | Distrbution O & M Savings -- Improved distribution planning
|  |  | Real-time Load Transfer | System Optimization -- Improved load balancing
|  |  | Revenue Assurance | Theft Reduction -- Increased theft and tamper detection
|  |  | Service Outage Management | Power Interruptions -- Reduced truck rolls at the end of outages by better understanding nested outages
|  |  | Service Outage Management | Power Interruptions -- Reduced restoration costs
|  |  | Service Outage Management | Power Interruptions -- Reduced outage frequency
|  |  | Service Outage Management | Power Interruptions -- More reliable restoration notification
|  |  | Service Outage Management | Power Interruptions -- Improved response time to restoration
|  |  | Service Outage Management | Power Interruptions -- Improved outage duration info and reporting
|  |  | Service Outage Management | Power Interruptions -- Avoided lost sales due to outages
|  |  | Service Outage Management | Other Customer Benefits -- Improved customer satisfaction
|  |  | System Integration | Other Customer Benefits -- Network System Enabler
|  |  | System Test and Enterprise Architecture | Other Customer Benefits -- Network System Enabler
|  |  | Telecommunications Backbone | Other Customer Benefits -- Network System Enabler
|  |  | Telecommunications Backbone | Distrbution O & M Savings -- Reduced distribution operations cost
|  |  | Time Varying Rates | Other Customer Benefits -- In-home feedback tools
|  |  | Time Varying Rates | Other Customer Benefits -- Increased customer choice and control

## -25 TVR Rate
Business Case Summary Template: Summary - Benefits and Costs - Balanced Plan - Low Range of Customer TVR Response
| Monetized Benefits |  | List of Unquantified Benefits
| Function | Present Value ($ mil) | Function | Benefit
| Adaptive Protection | 0 | Advanced Meter Reading & Billing | Other Customer Benefits -- Network System Enabler
| Advanced Meter Reading & Billing | 127642163.9523 | Advanced Meter Reading & Billing | Other Customer Benefits -- Improved customer satisfaction
| Automated Feeder Switching | 36013741.2142 | Advanced Meter Reading & Billing | Other Customer Benefits -- Convenience - no longer require meter access to meter readers
| Automated Islanding & Reconnection | 0 | Advanced Meter Reading & Billing | Other Customer Benefits -- Better informed customer reps
| Automated Voltage & VAR Control | 154547774.3258 | Advanced Meter Reading & Billing | Distrbution O & M Savings -- Reduced or eliminate estimated bills
| Current Voltage & Power Factor | 0 | Advanced Meter Reading & Billing | Distrbution O & M Savings -- Reduced accidents/ physical injury
| Customer Electricity Use & Optimization | 33182134.7236 | Advanced Meter Reading & Billing | Distrbution O & M Savings -- Improved issue detection, including dead meters
| Demand Response | 22709119.0609 | AMI Telecommunications | Power Interruptions -- Reduced restoration costs
| Diagnosis & Notification of Equipment Condition | 0 | AMI Telecommunications | Other Customer Benefits -- Network System Enabler
| Distributed Energy Resource Monitoring & Control | 0 | Automated Feeder Switching | Power Interruptions -- Reduced restoration costs
| Distributed Generation Integration | 0 | Automated Feeder Switching | Power Interruptions -- Reduced outage frequency
| Distribution-Sited Grid Storage Integration & Control | 0 | Automated Feeder Switching | Distributed Energy Resources -- Increased integration of DERs in the service territory
| Dynamic Capability Rating | 0 | Automated Feeder Switching | Distrbution O & M Savings -- Improved distribution planning
| End-Use Energy Efficiency | 0 | Automated Islanding & Reconnection | Power Interruptions -- Reduced outage frequency
| Enhanced Fault Protection | 0 | Automated Voltage & VAR Control | System Optimization -- Reduced energy use due to optimized system voltages
| Fault Current Limiting | 0 | Automated Voltage & VAR Control | Power Quality -- Reduced sags and swells
| Fault Location, Isolation & Service Restoration | 0 | Automated Voltage & VAR Control | Power Quality -- Delivery of acceptable voltage, current, and frequency
| Power Flow Control | 0 | Automated Voltage & VAR Control | Other Benefits -- Reduced transportation related GHG emissions
| Real-time Load Measurement & Management | 0 | Automated Voltage & VAR Control | Electricity Cost Savings -- Reduced electricity consumption
| Real-time Load Transfer | 0 | Automated Voltage & VAR Control | Electricity Cost Savings -- Demand savings
| Revenue Assurance | 96544840.7374 | Automated Voltage & VAR Control | Electricity Cost Savings -- Avoided capacity costs
| Service Outage Management | 64733129.8757 | Automated Voltage & VAR Control | Distributed Energy Resources -- Increased integration of DERs in the service territory
| Wide Area Monitoring, Visualization & Control | 0 | Automated Voltage & VAR Control | Distrbution O & M Savings -- Reduced distribution operations cost
| Time Varying Rates | 262552173.7667 | Automated Voltage & VAR Control | Air Emissions -- Avoided SOx, NOx, and PM-10 emissions compliance cost
| EV Integration | 20774759.4652 | Automated Voltage & VAR Control | Air Emissions -- Avoided GHG emissions compliance cost
| Telecommunications Backbone | 25447421.6297 | Current Voltage & Power Factor | Power Quality -- Delivery of acceptable voltage, current, and frequency
| AMI Telecommunications | 39803678.7162 | Customer Electricity Use & Optimization | Other Customer Benefits -- In-home feedback tools
| IT Security | 0 | Customer Electricity Use & Optimization | Other Customer Benefits -- Increased customer choice and control
| Geographic Information System | 0 | Customer Electricity Use & Optimization | Other Customer Benefits -- Increased customer access to the energy management portals
| Program Management | 0 | Customer Electricity Use & Optimization | Other Customer Benefits -- Improved customer satisfaction
| System Integration | 0 | Customer Electricity Use & Optimization | Other Customer Benefits -- Daily usage data with price signals for managing energy usage
| Data Management | 0 | Customer Electricity Use & Optimization | Other Customer Benefits -- Customer consumption info on dedicated website
| Data Analytics | 0 | Data Analytics | Other Customer Benefits -- Network System Enabler
| System Test and Enterprise Architecture | 0 | Data Management | Other Customer Benefits -- Network System Enabler
| Mobile Workforce Management | 9125375.3382 | Demand Response | Other Customer Benefits -- In-home feedback tools
| Total Monetized Benefits | 893076312.8058 | Demand Response | Other Customer Benefits -- Increased customer choice and control
|  |  | Diagnosis & Notification of Equipment Condition | Distrbution O & M Savings -- information access
| Costs |  | Distributed Generation Integration | Distributed Energy Resources -- Increased integration of DERs in the service territory
| Cost Category | Present Value ($ mil) | Distributed Generation Integration | Distributed Energy Resources -- Increased DER nameplate capacity in the service territory (in MW)
| Advanced Metering System |  | Distribution-Sited Grid Storage Integration & Control | Distributed Energy Resources -- Reduced costs from energy storage
| Communications Systems |  | DMS | Other Benefits -- Information Access
| Electric Distribution System |  | EV Integration | Distributed Energy Resources -- Reduced fuel transportation expense from EVs
| Integrated Crosscutting Systems |  | EV Integration | Distributed Energy Resources -- Increased number of EVs in the service territory
| Customer Education Marketing |  | Fault Location, Isolation & Service Restoration | T & D Capital Savings -- Deferred capital replacement
| Project Management Administration |  | Fault Location, Isolation & Service Restoration | Power Interruptions -- Reduced restoration costs
| Operational O & M |  | Fault Location, Isolation & Service Restoration | Power Interruptions -- Reduced outage frequency
| Other Costs |  | Fault Location, Isolation & Service Restoration | Distrbution O & M Savings -- Reduced truck rolls
| Total Costs | 1044909833.976 | Geographic Information System | Other Customer Benefits -- Network System Enabler
|  |  | IT Security | Other Customer Benefits -- Network System Enabler
| Total Monetized Net Benefits | -151833521.1702 | Mobile Workforce Management | Power Interruptions -- SAIDI improvement
|  |  | Mobile Workforce Management | Power Interruptions -- Improved response time to restoration
|  |  | Mobile Workforce Management | Other Customer Benefits -- Improved customer satisfaction
|  |  | Mobile Workforce Management | Other Benefits -- Safety and compliance
|  |  | Mobile Workforce Management | Other Benefits -- Information Access
|  |  | Program Management | Other Customer Benefits -- Network System Enabler
|  |  | Real-time Load Measurement & Management | Distrbution O & M Savings -- Improved load research
|  |  | Real-time Load Measurement & Management | Distrbution O & M Savings -- Improved distribution planning
|  |  | Real-time Load Transfer | System Optimization -- Improved load balancing
|  |  | Revenue Assurance | Theft Reduction -- Increased theft and tamper detection
|  |  | Service Outage Management | Power Interruptions -- Reduced truck rolls at the end of outages by better understanding nested outages
|  |  | Service Outage Management | Power Interruptions -- Reduced restoration costs
|  |  | Service Outage Management | Power Interruptions -- Reduced outage frequency
|  |  | Service Outage Management | Power Interruptions -- More reliable restoration notification
|  |  | Service Outage Management | Power Interruptions -- Improved response time to restoration
|  |  | Service Outage Management | Power Interruptions -- Improved outage duration info and reporting
|  |  | Service Outage Management | Power Interruptions -- Avoided lost sales due to outages
|  |  | Service Outage Management | Other Customer Benefits -- Improved customer satisfaction
|  |  | System Integration | Other Customer Benefits -- Network System Enabler
|  |  | System Test and Enterprise Architecture | Other Customer Benefits -- Network System Enabler
|  |  | Telecommunications Backbone | Other Customer Benefits -- Network System Enabler
|  |  | Telecommunications Backbone | Distrbution O & M Savings -- Reduced distribution operations cost
|  |  | Time Varying Rates | Other Customer Benefits -- In-home feedback tools
|  |  | Time Varying Rates | Other Customer Benefits -- Increased customer choice and control